## Contact
Revit categories (Family instances) |  |  |  | Data source (N/A or X) |  |  | COBie sheet
|  |  |  | Revit native parameter | Revit COBie extension parameter | Other source | Sheet parameter name
Air Terminals | N/A | Mechanical Equipment | N/A |  |  | X | Email
Analytical Beams | N/A | Nurse Call Devices | N/A |  |  | X | CreatedBy
Analytical Braces | N/A | Parking | N/A |  |  | X | CreatedOn
Analytical Columns | N/A | Parts | N/A |  |  | X | Category
Analytical Floors | N/A | Pipe Accessories | N/A |  |  | X | Company
Analytical Foundation Slabs | N/A | Pipe Fittings | N/A |  |  | X | Phone
Analytical Isolated Foundations | N/A | Pipe Insulations | N/A |  |  | X | ExternalSystem
Analytical Links | N/A | Pipe Placeholders | N/A |  |  | X | ExternalObject
Analytical Nodes | N/A | Pipes | N/A |  |  | X | ExternalIdentifier
Analytical Wall Foundations | N/A | Piping Systems | N/A |  |  | X | Department
Analytical Walls | N/A | Planting | N/A |  |  | X | OrganizationCode
Areas | N/A | Plumbing Fixtures | N/A |  |  | X | GivenName
Assemblies | N/A | Project Information | N/A |  |  | X | FamilyName
Cable Tray Fittings | N/A | Railings » | N/A |  |  | X | Street
Cable Tray Runs | N/A | » Terminations | N/A |  |  | X | PostalBox
Cable Trays | N/A | » Handrails | N/A |  |  | X | Town
Casework | N/A | » Supports | N/A |  |  | X | StateRegion
Ceilings | N/A | » Top Rails | N/A |  |  | X | PostalCode
Columns | N/A | Ramps | N/A |  |  | X | Country
Communication Devices | N/A | Rebar Shape | N/A
Conduit Fittings | N/A | Roads | N/A
Conduit Runs | N/A | Roofs » | N/A
Conduits | N/A | » Fascias | N/A
Curtain Panels | N/A | » Gutters | N/A
Curtain Systems | N/A | » Roof Soffits | N/A
Curtain Wall Mullions | N/A | Rooms | N/A
Data Devices | N/A | Security Devices | N/A
Detail Items | N/A | Shaft Openings | N/A
Doors | N/A | Site » | N/A
Duct Accessories | N/A | » Pads | N/A
Duct Fittings | N/A | » Property Line Segments | N/A
Duct Insulations | N/A | » Property Lines | N/A
Duct Linings | N/A | Spaces | N/A
Duct Placeholders | N/A | Specialty Equipment | N/A
Duct Systems | N/A | Sprinklers | N/A
Ducts | N/A | Stairs » | N/A
Electrical Circuits | N/A | » Runs | N/A
Electrical Equipment | N/A | » Landings | N/A
Electrical Fixtures | N/A | » Supports | N/A
Entourage | N/A | Structural Area Reinforcement | N/A
Fire Alarm Devices | N/A | Structural Beam Systems | N/A
Flex Ducts | N/A | Structural Columns | N/A
Flex Pipes | N/A | Structural Connections | N/A
Floors » | N/A | Structural Fabric Areas | N/A
» Slab Edges | N/A | Structural Fabric Reinforcement | N/A
Furniture | N/A | Structural Foundations | N/A
Furniture Systems | N/A | Structural Framing | N/A
Generic Models | N/A | Structural Internal Loads » | N/A
Grids | N/A | » Internal Area Loads | N/A
HVAC Zones | N/A | » Internal Line Loads | N/A
Levels | N/A | » Internal Point Loads | N/A
Lighting Devices | N/A | Structural Path Reinforcement | N/A
Lighting Fixtures | N/A | Structural Rebar | N/A
Mass » | N/A | Structural Stiffeners | N/A
» Exterior Wall | N/A | Structural Trusses | N/A
» Floor | N/A | Switch System | N/A
» Glazing | N/A | Telephone Devices | N/A
» Interior Wall | N/A | Topography | N/A
» Opening | N/A | Views | N/A
» Roof | N/A | Walls » | N/A
» Skylight | N/A | » Wall Sweeps | N/A
» Zone | N/A | Windows | N/A
Materials | N/A | Wires | N/A

## Facility
Revit categories (Family instances) |  |  |  | Data source (N/A or X) |  |  | COBie sheet
|  |  |  | Revit parameter |  | Other source
|  |  |  | Revit native parameter | Revit COBie extension parameter (Append to revit element as family parameter) |  | Sheet parameter name | Legend
Air Terminals | N/A | Mechanical Equipment | N/A | Building Name | COBie.Facility.Name |  | Name |  | Parameter can be converted from native Revit directly
Analytical Beams | N/A | Nurse Call Devices | N/A |  |  | X | CreatedBy |  | Parameter can not be converted from native Revit directly. So require the help of Revit Cobie extension or other data source
Analytical Braces | N/A | Parking | N/A |  |  | X | CreatedOn |  | May specified later or be converted as relationship in Neo4j
Analytical Columns | N/A | Parts | N/A | Category | COBie.Facility.Category |  | Category |  | We currently do not need
Analytical Floors | N/A | Pipe Accessories | N/A | Project Name | COBie.Facility.ProjectName |  | ProjectName |  | Mapping from revit to cobie needed
Analytical Foundation Slabs | N/A | Pipe Fittings | N/A |  | COBie.Facility.SiteName |  | SiteName
Analytical Isolated Foundations | N/A | Pipe Insulations | N/A |  | COBie.Facility.LinearUnits |  | LinearUnits
Analytical Links | N/A | Pipe Placeholders | N/A |  | COBie.Facility.AreaUnits |  | AreaUnits
Analytical Nodes | N/A | Pipes | N/A |  | COBie.Facility.VolumeUnits |  | VolumeUnits
Analytical Wall Foundations | N/A | Piping Systems | N/A |  | COBie.Facility.CurrencyUnit |  | CurrencyUnit
Analytical Walls | N/A | Planting | N/A |  | COBie.Facility.AreaMeasurement |  | AreaMeasurement
Areas | N/A | Plumbing Fixtures | N/A |  |  | X | ExternalSystem
Assemblies | N/A | Project Information | X |  |  | X | ExternalProjectObject
Cable Tray Fittings | N/A | Railings » | N/A |  |  | X | ExternalProjectIdentifier
Cable Tray Runs | N/A | » Terminations | N/A |  |  | X | ExternalSiteObject
Cable Trays | N/A | » Handrails | N/A |  |  | X | ExternalSiteIdentifier
Casework | N/A | » Supports | N/A |  |  | X | ExternalFacilityObject
Ceilings | N/A | » Top Rails | N/A |  |  | X | ExternalFacilityIdentifier
Columns | N/A | Ramps | N/A |  | COBie.Facility.Description |  | Description
Communication Devices | N/A | Rebar Shape | N/A |  | COBie.Facility.ProjectDescription |  | ProjectDescription
Conduit Fittings | N/A | Roads | N/A |  | COBie.Facility.SiteDescription |  | SiteDescription
Conduit Runs | N/A | Roofs » | N/A |  | COBie.Facility.Phase |  | Phase
Conduits | N/A | » Fascias | N/A | (Determined)
Curtain Panels | N/A | » Gutters | N/A
Curtain Systems | N/A | » Roof Soffits | N/A
Curtain Wall Mullions | N/A | Rooms | N/A
Data Devices | N/A | Security Devices | N/A
Detail Items | N/A | Shaft Openings | N/A
Doors | N/A | Site » | N/A
Duct Accessories | N/A | » Pads | N/A
Duct Fittings | N/A | » Property Line Segments | N/A
Duct Insulations | N/A | » Property Lines | N/A
Duct Linings | N/A | Spaces | N/A
Duct Placeholders | N/A | Specialty Equipment | N/A
Duct Systems | N/A | Sprinklers | N/A
Ducts | N/A | Stairs » | N/A
Electrical Circuits | N/A | » Runs | N/A
Electrical Equipment | N/A | » Landings | N/A
Electrical Fixtures | N/A | » Supports | N/A
Entourage | N/A | Structural Area Reinforcement | N/A
Fire Alarm Devices | N/A | Structural Beam Systems | N/A
Flex Ducts | N/A | Structural Columns | N/A
Flex Pipes | N/A | Structural Connections | N/A
Floors » | N/A | Structural Fabric Areas | N/A
» Slab Edges | N/A | Structural Fabric Reinforcement | N/A
Furniture | N/A | Structural Foundations | N/A
Furniture Systems | N/A | Structural Framing | N/A
Generic Models | N/A | Structural Internal Loads » | N/A
Grids | N/A | » Internal Area Loads | N/A
HVAC Zones | N/A | » Internal Line Loads | N/A
Levels | N/A | » Internal Point Loads | N/A
Lighting Devices | N/A | Structural Path Reinforcement | N/A
Lighting Fixtures | N/A | Structural Rebar | N/A
Mass » | N/A | Structural Stiffeners | N/A
» Exterior Wall | N/A | Structural Trusses | N/A
» Floor | N/A | Switch System | N/A
» Glazing | N/A | Telephone Devices | N/A
» Interior Wall | N/A | Topography | N/A
» Opening | N/A | Views | N/A
» Roof | N/A | Walls » | N/A
» Skylight | N/A | » Wall Sweeps | N/A
» Zone | N/A | Windows | N/A
Materials | N/A | Wires | N/A

## Floor
Revit categories (Family instances) |  |  |  | Data source (N/A or X) |  |  | COBie sheet | Example
|  |  |  | Revit parameter |  | Other source
|  |  |  | Revit native parameter | Revit COBie extension parameter (Append to revit element as family parameter) |  | Sheet parameter name
Air Terminals | N/A | Mechanical Equipment | N/A | Name | COBie.Floor.Name |  | Name | Revit element: Level. Parameter: Name(Or COBie.Floor.Name). Value: XXX. This data goes to be Floor(sheet).Name
Analytical Beams | N/A | Nurse Call Devices | N/A |  |  | X | CreatedBy
Analytical Braces | N/A | Parking | N/A |  |  | X | CreatedOn
Analytical Columns | N/A | Parts | N/A | Category | COBie.Floor.Category |  | Category
Analytical Floors | N/A | Pipe Accessories | N/A |  |  | X | ExtSystem
Analytical Foundation Slabs | N/A | Pipe Fittings | N/A |  |  | X | ExtObject
Analytical Isolated Foundations | N/A | Pipe Insulations | N/A |  |  | X | ExtIdentifier
Analytical Links | N/A | Pipe Placeholders | N/A |  | COBie.Floor.Description |  | Description
Analytical Nodes | N/A | Pipes | N/A | Elevation |  |  | Elevation
Analytical Wall Foundations | N/A | Piping Systems | N/A |  | COBie.Floor.Height |  | Height
Analytical Walls | N/A | Planting | N/A
Areas | N/A | Plumbing Fixtures | N/A
Assemblies | N/A | Project Information | N/A
Cable Tray Fittings | N/A | Railings » | N/A
Cable Tray Runs | N/A | » Terminations | N/A
Cable Trays | N/A | » Handrails | N/A
Casework | N/A | » Supports | N/A
Ceilings | N/A | » Top Rails | N/A
Columns | N/A | Ramps | N/A
Communication Devices | N/A | Rebar Shape | N/A
Conduit Fittings | N/A | Roads | N/A
Conduit Runs | N/A | Roofs » | N/A
Conduits | N/A | » Fascias | N/A
Curtain Panels | N/A | » Gutters | N/A
Curtain Systems | N/A | » Roof Soffits | N/A
Curtain Wall Mullions | N/A | Rooms | N/A
Data Devices | N/A | Security Devices | N/A
Detail Items | N/A | Shaft Openings | N/A
Doors | N/A | Site » | N/A
Duct Accessories | N/A | » Pads | N/A
Duct Fittings | N/A | » Property Line Segments | N/A
Duct Insulations | N/A | » Property Lines | N/A
Duct Linings | N/A | Spaces | N/A
Duct Placeholders | N/A | Specialty Equipment | N/A
Duct Systems | N/A | Sprinklers | N/A
Ducts | N/A | Stairs » | N/A
Electrical Circuits | N/A | » Runs | N/A
Electrical Equipment | N/A | » Landings | N/A
Electrical Fixtures | N/A | » Supports | N/A
Entourage | N/A | Structural Area Reinforcement | N/A
Fire Alarm Devices | N/A | Structural Beam Systems | N/A
Flex Ducts | N/A | Structural Columns | N/A
Flex Pipes | N/A | Structural Connections | N/A
Floors » | N/A | Structural Fabric Areas | N/A
» Slab Edges | N/A | Structural Fabric Reinforcement | N/A
Furniture | N/A | Structural Foundations | N/A
Furniture Systems | N/A | Structural Framing | N/A
Generic Models | N/A | Structural Internal Loads » | N/A
Grids | N/A | » Internal Area Loads | N/A
HVAC Zones | N/A | » Internal Line Loads | N/A
Levels | X | » Internal Point Loads | N/A
Lighting Devices | N/A | Structural Path Reinforcement | N/A
Lighting Fixtures | N/A | Structural Rebar | N/A
Mass » | N/A | Structural Stiffeners | N/A
» Exterior Wall | N/A | Structural Trusses | N/A
» Floor | N/A | Switch System | N/A
» Glazing | N/A | Telephone Devices | N/A
» Interior Wall | N/A | Topography | N/A
» Opening | N/A | Views | N/A
» Roof | N/A | Walls » | N/A
» Skylight | N/A | » Wall Sweeps | N/A
» Zone | N/A | Windows | N/A
Materials | N/A | Wires | N/A

## Space
Revit categories (Family instances) |  |  |  | Data source (N/A or X) |  |  | COBie sheet | Notes
|  |  |  | Revit parameter |  | Other source
|  |  |  | Revit native parameter | Revit COBie extension parameter |  | Sheet parameter name
Air Terminals | N/A | Mechanical Equipment | N/A | Name | COBie.Space.Name |  | Name
Analytical Beams | N/A | Nurse Call Devices | N/A |  |  | X | CreatedBy
Analytical Braces | N/A | Parking | N/A |  |  | X | CreatedOn
Analytical Columns | N/A | Parts | N/A | Category | COBie.Space.Category |  | Category
Analytical Floors | N/A | Pipe Accessories | N/A | Level |  |  | FloorName
Analytical Foundation Slabs | N/A | Pipe Fittings | N/A | Category Description | COBie.Space.Description |  | Description
Analytical Isolated Foundations | N/A | Pipe Insulations | N/A |  |  | X | ExtSystem
Analytical Links | N/A | Pipe Placeholders | N/A |  |  | X | ExtObject
Analytical Nodes | N/A | Pipes | N/A |  |  | X | ExtIdentifier
Analytical Wall Foundations | N/A | Piping Systems | N/A | RoomTag | COBie.Space.RoomTag |  | RoomTag
Analytical Walls | N/A | Planting | N/A | Unbounded Height | COBie.Space.UsableHeight |  | UsableHeight
Areas | N/A | Plumbing Fixtures | N/A | Area | CCOBie.Space.GrossArea |  | GrossArea
Assemblies | N/A | Project Information | N/A |  | COBie.Space.NetArea |  | NetArea
Cable Tray Fittings | N/A | Railings » | N/A | Number |  |  | Number |  | Own defined
Cable Tray Runs | N/A | » Terminations | N/A
Cable Trays | N/A | » Handrails | N/A
Casework | N/A | » Supports | N/A
Ceilings | N/A | » Top Rails | N/A
Columns | N/A | Ramps | N/A
Communication Devices | N/A | Rebar Shape | N/A
Conduit Fittings | N/A | Roads | N/A
Conduit Runs | N/A | Roofs » | N/A
Conduits | N/A | » Fascias | N/A
Curtain Panels | N/A | » Gutters | N/A
Curtain Systems | N/A | » Roof Soffits | N/A
Curtain Wall Mullions | N/A | Rooms | X
Data Devices | N/A | Security Devices | N/A
Detail Items | N/A | Shaft Openings | N/A
Doors | N/A | Site » | N/A
Duct Accessories | N/A | » Pads | N/A
Duct Fittings | N/A | » Property Line Segments | N/A
Duct Insulations | N/A | » Property Lines | N/A
Duct Linings | N/A | Spaces | X
Duct Placeholders | N/A | Specialty Equipment | N/A
Duct Systems | N/A | Sprinklers | N/A
Ducts | N/A | Stairs » | N/A
Electrical Circuits | N/A | » Runs | N/A
Electrical Equipment | N/A | » Landings | N/A
Electrical Fixtures | N/A | » Supports | N/A
Entourage | N/A | Structural Area Reinforcement | N/A
Fire Alarm Devices | N/A | Structural Beam Systems | N/A
Flex Ducts | N/A | Structural Columns | N/A
Flex Pipes | N/A | Structural Connections | N/A
Floors » | N/A | Structural Fabric Areas | N/A
» Slab Edges | N/A | Structural Fabric Reinforcement | N/A
Furniture | N/A | Structural Foundations | N/A
Furniture Systems | N/A | Structural Framing | N/A
Generic Models | N/A | Structural Internal Loads » | N/A
Grids | N/A | » Internal Area Loads | N/A
HVAC Zones | N/A | » Internal Line Loads | N/A
Levels | N/A | » Internal Point Loads | N/A
Lighting Devices | N/A | Structural Path Reinforcement | N/A
Lighting Fixtures | N/A | Structural Rebar | N/A
Mass » | N/A | Structural Stiffeners | N/A
» Exterior Wall | N/A | Structural Trusses | N/A
» Floor | N/A | Switch System | N/A
» Glazing | N/A | Telephone Devices | N/A
» Interior Wall | N/A | Topography | N/A
» Opening | N/A | Views | N/A
» Roof | N/A | Walls » | N/A
» Skylight | N/A | » Wall Sweeps | N/A
» Zone | N/A | Windows | N/A
Materials | N/A | Wires | N/A

## Zone
Revit categories (Family instances) |  |  |  | Data source (N/A or X) |  |  | COBie sheet
|  |  |  | Revit parameter |  | Other source
|  |  |  | Revit native parameter | Revit COBie extension parameter (Append to revit element as family parameter) |  | Sheet parameter name | Notes
Air Terminals | N/A | Mechanical Equipment | N/A | Name | COBie.Zone.Name |  | Name | There is no Zones by default unless we defined the zones by the ourselves
Analytical Beams | N/A | Nurse Call Devices | N/A |  |  | X | CreatedBy
Analytical Braces | N/A | Parking | N/A |  |  | X | CreatedOn
Analytical Columns | N/A | Parts | N/A | Category | COBie.Zone.Category |  | Category
Analytical Floors | N/A | Pipe Accessories | N/A |  |  | X | SpaceNames
Analytical Foundation Slabs | N/A | Pipe Fittings | N/A |  |  | X | ExtSystem
Analytical Isolated Foundations | N/A | Pipe Insulations | N/A |  |  | X | ExtObject
Analytical Links | N/A | Pipe Placeholders | N/A |  |  | X | ExtIdentifier
Analytical Nodes | N/A | Pipes | N/A |  | COBie.Zone.Description |  | Description
Analytical Wall Foundations | N/A | Piping Systems | N/A
Analytical Walls | N/A | Planting | N/A
Areas | N/A | Plumbing Fixtures | N/A
Assemblies | N/A | Project Information | N/A
Cable Tray Fittings | N/A | Railings » | N/A
Cable Tray Runs | N/A | » Terminations | N/A
Cable Trays | N/A | » Handrails | N/A
Casework | N/A | » Supports | N/A
Ceilings | N/A | » Top Rails | N/A
Columns | N/A | Ramps | N/A
Communication Devices | N/A | Rebar Shape | N/A
Conduit Fittings | N/A | Roads | N/A
Conduit Runs | N/A | Roofs » | N/A
Conduits | N/A | » Fascias | N/A
Curtain Panels | N/A | » Gutters | N/A
Curtain Systems | N/A | » Roof Soffits | N/A
Curtain Wall Mullions | N/A | Rooms | N/A
Data Devices | N/A | Security Devices | N/A
Detail Items | N/A | Shaft Openings | N/A
Doors | N/A | Site » | N/A
Duct Accessories | N/A | » Pads | N/A
Duct Fittings | N/A | » Property Line Segments | N/A
Duct Insulations | N/A | » Property Lines | N/A
Duct Linings | N/A | Spaces | N/A
Duct Placeholders | N/A | Specialty Equipment | N/A
Duct Systems | N/A | Sprinklers | N/A
Ducts | N/A | Stairs » | N/A
Electrical Circuits | N/A | » Runs | N/A
Electrical Equipment | N/A | » Landings | N/A
Electrical Fixtures | N/A | » Supports | N/A
Entourage | N/A | Structural Area Reinforcement | N/A
Fire Alarm Devices | N/A | Structural Beam Systems | N/A
Flex Ducts | N/A | Structural Columns | N/A
Flex Pipes | N/A | Structural Connections | N/A
Floors » | N/A | Structural Fabric Areas | N/A
» Slab Edges | N/A | Structural Fabric Reinforcement | N/A
Furniture | N/A | Structural Foundations | N/A
Furniture Systems | N/A | Structural Framing | N/A
Generic Models | N/A | Structural Internal Loads » | N/A
Grids | N/A | » Internal Area Loads | N/A
HVAC Zones | X | » Internal Line Loads | N/A
Levels | N/A | » Internal Point Loads | N/A
Lighting Devices | N/A | Structural Path Reinforcement | N/A
Lighting Fixtures | N/A | Structural Rebar | N/A
Mass » | N/A | Structural Stiffeners | N/A
» Exterior Wall | N/A | Structural Trusses | N/A
» Floor | N/A | Switch System | N/A
» Glazing | N/A | Telephone Devices | N/A
» Interior Wall | N/A | Topography | N/A
» Opening | N/A | Views | N/A
» Roof | N/A | Walls » | N/A
» Skylight | N/A | » Wall Sweeps | N/A
» Zone | N/A | Windows | N/A
Materials | N/A | Wires | N/A

## Type
Revit categories(Family types, different from Family instances) |  |  |  | Data source (N/A or X) |  |  | COBie sheet
|  |  |  | Revit parameter |  | Other source
|  |  |  | Revit native parameter | Revit COBie extension parameter (Append to revit element as family parameter) |  | Sheet parameter name
Air Terminals | N/A | Pipe Insulations | N/A |  |  |  | Name
Analytical Links | N/A | Pipe Placeholders | N/A |  |  | X | CreatedBy
Assemblies | N/A | Pipes | N/A |  |  | X | CreatedOn
Cable Tray Fittings | N/A | Piping Systems | N/A |  |  |  | Category
Cable Tray Runs | N/A | Planting | N/A |  |  | X | Description
Cable Trays | N/A | Plumbing Fixtures | N/A |  |  | X | AssetType
Casework | N/A | Railings » | N/A |  |  | X | Manufacturer
Ceilings | N/A | » Handrails | N/A |  |  | X | ModelNumber
Columns | N/A | » Supports | N/A |  |  |  | WarrantyGuarantorParts
Communication Devices | N/A | » Terminations | N/A |  |  |  | WarrantyDurationParts
Conduit Fittings | N/A | » Top Rails | N/A |  |  |  | WarrantyGuarantorLabor
Conduit Runs | N/A | Ramps | N/A |  |  |  | WarrantyDurationLabor
Conduits | N/A | Rebar Shape | N/A |  |  |  | WarrantyDurationUnit
Curtain Panels | N/A | Roofs » | N/A |  |  |  | ExtSystem
Curtain Systems | N/A | » Fascias | N/A |  |  |  | ExtObject
Curtain Wall Mullions | N/A | » Gutters | N/A |  |  |  | ExtIdentifier
Data Devices | N/A | » Roof Soffits | N/A |  |  |  | ReplacementCost
Detail Items | N/A | Security Devices | N/A |  |  |  | ExpectedLife
Doors | N/A | Site » | N/A |  |  |  | DurationUnit
Duct Accessories | N/A | » Pads | N/A |  |  |  | WarrantyDescription
Duct Fittings | N/A | » Property Line Segments | N/A |  |  |  | NominalLength
Duct Insulations | N/A | » Property Lines | N/A |  |  |  | NominalWidth
Duct Linings | N/A | Specialty Equipment | N/A |  |  |  | NominalHeight
Duct Placeholders | N/A | Sprinklers | N/A |  |  |  | ModelReference
Duct Systems | N/A | Stairs » | N/A |  |  |  | Shape
Ducts | N/A | » Landings | N/A |  |  |  | Size
Electrical Equipment | N/A | » Runs | N/A |  |  |  | Color
Electrical Fixtures | N/A | » Supports | N/A |  |  |  | Finish
Entourage | N/A | Structural Area Reinforcement | N/A |  |  |  | Grade
Fire Alarm Devices | N/A | Structural Beam Systems | N/A |  |  |  | Material
Flex Ducts | N/A | Structural Columns | N/A |  |  |  | Constituents
Flex Pipes | N/A | Structural Connections | N/A |  |  |  | Features
Floors » | N/A | Structural Fabric Areas | N/A |  |  |  | AccessibilityPerformance
» Slab Edges | N/A | Structural Fabric Reinforcement | N/A |  |  |  | CodePerformance
Furniture | N/A | Structural Foundations | N/A |  |  |  | SustainabilityPerformance
Furniture Systems | N/A | Structural Framing | N/A
Generic Models | N/A | Structural Path Reinforcement | N/A
Grids | N/A | Structural Rebar | N/A
Levels | N/A | Structural Stiffeners | N/A
Lighting Devices | N/A | Structural Trusses | N/A
Lighting Fixtures | N/A | Telephone Devices | N/A
Mass | N/A | Topography | N/A
Mechanical Equipment | N/A | Walls » | N/A
Nurse Call Devices | N/A | » Wall Sweeps | N/A
Parking | N/A | Windows | N/A
Pipe Accessories | N/A | Wires | N/A
Pipe Fittings | N/A |  | N/A

## Component
Revit categories (Family instances) |  |  |  | Data source (N/A or X) |  |  | COBie sheet
|  |  |  | Revit parameter |  | Other source
|  |  |  | Revit native parameter | Revit COBie extension parameter (Append to revit element as family parameter) |  | Sheet parameter name |  | Notes
Air Terminals | X | Mechanical Equipment | X | Family | COBie.Component.Name |  | Name
Analytical Beams | N/A | Nurse Call Devices | X |  |  | X | CreatedBy
Analytical Braces | N/A | Parking | X |  |  | X | CreatedOn
Analytical Columns | N/A | Parts | N/A | Type | COBie.Zone.Category |  | TypeName
Analytical Floors | N/A | Pipe Accessories | X | Room | COBie.Component.Space |  | Space | From other Dynamo nodes
Analytical Foundation Slabs | N/A | Pipe Fittings | X |  | COBie.Component.Description |  | Description
Analytical Isolated Foundations | N/A | Pipe Insulations | X |  |  | X | ExtSystem
Analytical Links | N/A | Pipe Placeholders | N/A |  |  | X | ExtObject
Analytical Nodes | N/A | Pipes | X |  |  | X | ExtIdentifier
Analytical Wall Foundations | N/A | Piping Systems | N/A | SerialNumber | COBie.Component.SerialNumber |  | SerialNumber
Analytical Walls | N/A | Planting | X | InstallationDate | COBie.Component.InstallationDate |  | InstallationDate
Areas | N/A | Plumbing Fixtures | X | WarrantyStartDate | COBie.Component.WarrantyStartDate |  | WarrantyStartDate
Assemblies | N/A | Project Information | N/A | TagNumber | COBie.Component.TagNumber |  | TagNumber
Cable Tray Fittings | X | Railings » | N/A | BarCode | COBie.Component.BarCode |  | BarCode
Cable Tray Runs | X | » Terminations | X | AssetIdentifier | COBie.Component.AssetIdentifier |  | AssetIdentifier
Cable Trays | X | » Handrails | X | Category |  |  | Category |  | (Own defined)
Casework | X | » Supports | X
Ceilings | X | » Top Rails | X
Columns | X | Ramps | X
Communication Devices | X | Rebar Shape | N/A
Conduit Fittings | X | Roads | N/A
Conduit Runs | X | Roofs » | X
Conduits | X | » Fascias | X
Curtain Panels | X | » Gutters | X
Curtain Systems | N/A | » Roof Soffits | X
Curtain Wall Mullions | X | Rooms | N/A
Data Devices | X | Security Devices | X
Detail Items | N/A | Shaft Openings | N/A
Doors | X | Site » | X
Duct Accessories | X | » Pads | X
Duct Fittings | X | » Property Line Segments | N/A
Duct Insulations | X | » Property Lines | N/A
Duct Linings | X | Spaces | N/A
Duct Placeholders | N/A | Specialty Equipment | X
Duct Systems | N/A | Sprinklers | X
Ducts | X | Stairs » | X
Electrical Circuits | N/A | » Runs | X
Electrical Equipment | X | » Landings | X
Electrical Fixtures | X | » Supports | X
Entourage | N/A | Structural Area Reinforcement | X
Fire Alarm Devices | X | Structural Beam Systems | N/A
Flex Ducts | X | Structural Columns | X
Flex Pipes | X | Structural Connections | X
Floors » | X | Structural Fabric Areas | N/A
» Slab Edges | N/A | Structural Fabric Reinforcement | X
Furniture | X | Structural Foundations | X
Furniture Systems | X | Structural Framing | X
Generic Models | X | Structural Internal Loads » | N/A
Grids | N/A | » Internal Area Loads | N/A
HVAC Zones | N/A | » Internal Line Loads | N/A
Levels | N/A | » Internal Point Loads | N/A
Lighting Devices | X | Structural Path Reinforcement | X
Lighting Fixtures | X | Structural Rebar | X
Mass » | X | Structural Stiffeners | X
» Exterior Wall | N/A | Structural Trusses | X
» Floor | N/A | Switch System | N/A
» Glazing | N/A | Telephone Devices | X
» Interior Wall | N/A | Topography | N/A
» Opening | N/A | Views | N/A
» Roof | N/A | Walls » | N/A
» Skylight | N/A | » Wall Sweeps | N/A
» Zone | N/A | Windows | X
Materials | N/A | Wires | N/A

## System
Revit categories (Family instances) |  |  |  | Data source (N/A or X) |  |  | COBie sheet
|  |  |  | Revit parameter |  | Other source
|  |  |  | Revit native parameter | Revit COBie extension parameter (Append to revit element as family parameter) |  | Sheet parameter name
Air Terminals | N/A | Mechanical Equipment | N/A | System Name /System Name_Systems Classification | COBie.System.Name |  | Name | Notes
Analytical Beams | N/A | Nurse Call Devices | N/A |  |  | X | CreatedBy | System exists for HVAC model
Analytical Braces | N/A | Parking | N/A |  |  | X | CreatedOn | System exists for HVAC model
Analytical Columns | N/A | Parts | N/A |  | COBie.System.Category |  | Category
Analytical Floors | N/A | Pipe Accessories | N/A |  |  | X | ComponentNames
Analytical Foundation Slabs | N/A | Pipe Fittings | N/A |  |  | X | ExtSystem
Analytical Isolated Foundations | N/A | Pipe Insulations | N/A |  |  | X | ExtObject
Analytical Links | N/A | Pipe Placeholders | N/A |  |  | X | ExtIdentifier
Analytical Nodes | N/A | Pipes | N/A |  |  | X | Description
Analytical Wall Foundations | N/A | Piping Systems | N/A
Analytical Walls | N/A | Planting | N/A
Areas | N/A | Plumbing Fixtures | N/A
Assemblies | N/A | Project Information | N/A
Cable Tray Fittings | N/A | Railings » | N/A
Cable Tray Runs | N/A | » Terminations | N/A
Cable Trays | N/A | » Handrails | N/A
Casework | N/A | » Supports | N/A
Ceilings | N/A | » Top Rails | N/A
Columns | N/A | Ramps | N/A
Communication Devices | N/A | Rebar Shape | N/A
Conduit Fittings | N/A | Roads | N/A
Conduit Runs | N/A | Roofs » | N/A
Conduits | N/A | » Fascias | N/A
Curtain Panels | N/A | » Gutters | N/A
Curtain Systems | N/A | » Roof Soffits | N/A
Curtain Wall Mullions | N/A | Rooms | N/A
Data Devices | N/A | Security Devices | N/A
Detail Items | N/A | Shaft Openings | N/A
Doors | N/A | Site » | N/A
Duct Accessories | N/A | » Pads | N/A
Duct Fittings | N/A | » Property Line Segments | N/A
Duct Insulations | N/A | » Property Lines | N/A
Duct Linings | N/A | Spaces | N/A
Duct Placeholders | N/A | Specialty Equipment | N/A
Duct Systems | N/A | Sprinklers | N/A
Ducts | N/A | Stairs » | N/A
Electrical Circuits | N/A | » Runs | N/A
Electrical Equipment | N/A | » Landings | N/A
Electrical Fixtures | N/A | » Supports | N/A
Entourage | N/A | Structural Area Reinforcement | N/A
Fire Alarm Devices | N/A | Structural Beam Systems | N/A
Flex Ducts | N/A | Structural Columns | N/A
Flex Pipes | N/A | Structural Connections | N/A
Floors » | N/A | Structural Fabric Areas | N/A
» Slab Edges | N/A | Structural Fabric Reinforcement | N/A
Furniture | N/A | Structural Foundations | N/A
Furniture Systems | N/A | Structural Framing | N/A
Generic Models | N/A | Structural Internal Loads » | N/A
Grids | N/A | » Internal Area Loads | N/A
HVAC Zones | N/A | » Internal Line Loads | N/A
Levels | N/A | » Internal Point Loads | N/A
Lighting Devices | N/A | Structural Path Reinforcement | N/A
Lighting Fixtures | N/A | Structural Rebar | N/A
Mass » | N/A | Structural Stiffeners | N/A
» Exterior Wall | N/A | Structural Trusses | N/A
» Floor | N/A | Switch System | N/A
» Glazing | N/A | Telephone Devices | N/A
» Interior Wall | N/A | Topography | N/A
» Opening | N/A | Views | N/A
» Roof | N/A | Walls » | N/A
» Skylight | N/A | » Wall Sweeps | N/A
» Zone | N/A | Windows | N/A
Materials | N/A | Wires | N/A